DEPARTMENT CIRCULAR NO. ______________

SUPPLEMENTAL GUIDELINES PROVIDING FOR THE IMPLEMENTATION AND ENFORCEMENT OF DEPARTMENT OF ENERGY DEPARTMENT CIRCULAR NO. DC2026-02-0006, OTHERWISE KNOWN AS THE "POWER GENERATOR ACCOUNTABILITY POLICY," AND OTHER RELATED ISSUANCES

WHEREAS, Republic Act (RA) No. 7638, otherwise known as the "Department of Energy Act of 1992," mandates the Department of Energy (DOE) to formulate, implement, monitor, and coordinate policies and programs to ensure a continuous, adequate, reliable, secure, and economic supply of energy;

WHEREAS, RA No. 9136, otherwise known as the "Electric Power Industry Reform Act of 2001" (EPIRA), mandates the DOE to develop policies and procedures to encourage electric power industry participants to provide adequate and reliable electric supply, monitor private sector activities relative to energy projects, and ensure the quality, reliability, security, and affordability of electric power;

WHEREAS, Department Circular (DC) No. DC2026-02-0006, otherwise known as the “Power Generator Accountability Policy,” requires Generation Companies (GenCos) to comply with reportorial requirements, annual self-assessments, operational reporting obligations, and other accountability mechanisms, and authorizes the DOE to monitor compliance, conduct assessments, issue advisories, and refer violations to the Energy Regulatory Commission (ERC), as appropriate;

WHEREAS, Section 25 of DOE DC2026-02-0006 provides that the ERC, in accordance with its powers and functions under the EPIRA, shall promulgate the necessary guidelines and amendments to its existing policies to implement the provisions thereof;

WHEREAS, there is a need to prescribe a uniform enforcement mechanism governing the issuance of Show Cause Orders (SCOs), requests for extension, evaluation of explanations, corrective measures, progressive administrative sanctions, and referrals to the ERC, including coordination with the ERC for the issuance or updating of the appropriate guidelines in order to ensure the effective implementation of DC No. DC2026-02-0006;

NOW, THEREFORE, in consideration of the foregoing premises, the DOE hereby issues, adopts, and promulgates this Supplemental Policy for the accountability of entities engaged in power generation pursuant to DC No. DC2026-02-0006:

RULE I

GENERAL PRINCIPLES

Section 1. Title. – This Circular shall be known and referred to as the “Supplemental Power Generator Accountability Policy.”

Section 2. Rationale. – This Circular is promulgated to strengthen the implementation and enforcement of the reportorial requirements under DC No. DC2026-02-0006 and other applicable issuances by establishing a uniform and transparent framework for monitoring compliance, issuing notices and orders, evaluating explanations, and implementing corrective actions. It seeks to ensure the timely submission of complete, accurate, and transparent reports, promote due process and regulatory consistency in enforcing reportorial obligations, and support the DOE's mandate to uphold the reliability, adequacy, security, and resilience of the electric power industry.

Section 3. Construction. – To protect and promote the public interest as it is affected by the rates and services of electric utilities and other providers of electric power, this Circular shall be liberally construed to attain the objectives of the EPIRA, its Implementing Rules and Regulations, and DC No. DC2026-02-0006. In case of ambiguity, the interpretation or construction that is consistent with these laws, as well as other related issuances of the DOE, shall prevail.

RULE II

ENFORCEMENT OF GENCO OBLIGATIONS

Section 4. Continuing Obligation to Comply with Reportorial Requirements.  – All GenCos shall timely submit complete, accurate, consistent, and transparent reports, data, information, and supporting documents as required under the following:

- DC No. DC2026-02-0006;

- DC No. DC2022-02-0001 titled “Providing Policies for the Systematic Management of the DOE Reportorial Requirements for the Electric Power Industry Participants”

- DC No. DC2024-02-0008 titled “Providing a Supplemental Policy for the Systematic Management of the DOE Reportorial Requirements of Electric Power Industry Participants –  Generation Companies”;

- DC No. DC2010-03-0003 titled “Directing All Power Generation Companies, the Transmission Service Provider, and All Distribution Utilities to Ensure Adequate and Reliable Electric Power Supply in the Country”;  and

- Other applicable laws, rules, regulations, related issuances, and directives administered or enforced by the DOE..

Compliance with reportorial requirements shall be a continuing obligation. The submission of an incomplete, inaccurate, inconsistent, or otherwise deficient report shall not be deemed full compliance unless the deficiency is corrected within the period prescribed by the DOE.

Section 5. Implementation and Compliance Monitoring. – The Electric Power Industry Management Bureau (EPIMB) of the DOE shall be the official point of contact for all matters arising under this Circular. The EPIMB shall monitor the compliance status of each GenCo, maintain records of all offenses and administrative proceedings, issue supplemental forms, templates, notices, and implementing instructions as needed, and undertake such other actions as may be necessary to implement the objectives this Circular, DC No. DC2026-02-0006, and other applicable laws, rules, regulations, and issuances.

Section 6. Commencement of Administrative Action. – The DOE may motu proprio initiate an administrative action against any GenCo through the issuance of an SCO, in accordance with Rule III of this Circular.

Section 7. Reckoning of Periods. – For purposes of computing any period prescribed under this Circular, service or submission shall be deemed complete and shall be reckoned from the date and time of the successful transmission of the electronic mail containing the relevant document to the designated official email address.

Where this Circular permits service or submission by registered mail or personal service in addition to electronic mail, such mode shall not suspend, toll, or interrupt the running of the prescribed period.

RULE III

SHOW CAUSE ORDERS

Section 8. Issuance of SCOs. – Upon determination of a prima facie violation, the DOE, through the EPIMB, shall issue an SCO, informing the concerned GenCo of the particular grounds for its issuance and directing the GenCo to explain, within seventy-two (72) hours from receipt of the SCO, unless a different period is prescribed therein,   why no administrative action should be taken against it.

Section 9. Grounds for Issuance of SCO. – The DOE may issue an SCO against a GenCo on any of the following grounds:

- Failure to timely comply with the following reportorial obligations:

  - Reportorial requirements under DC No. DC2022-02-0001 and DC No. DC2024-02-0008 as required under Sections 9 and 16 of DC No. DC2026-02-0006, using the prescribed data structures and standard templates under DC No. DC2022-01-0001.

This shall include the submission of all required reports, data, and other information through the DOE Electric Power Database Management System (DEPDMS) using the official account of the designated representative of the concerned entity.

  - Reportorial requirements as enumerated under Section 10 of DC No. DC2026-02-0006, including:

    - Annual self-assessment report of the parameters prescribed under Annex “A” or Annex “B” of DC No. DC2026-02-0006, as applicable, within the prescribed period;

    - Reporting on the findings and recommendations of the GenCo regarding its Preventive Maintenance Schedule, to be submitted within forty-five (45) calendar days from completion of the PMS, pursuant to the Grid Operating and Maintenance Program (GOMP);

    - Reporting of Forced Outages, Maintenance Outages, Outside Management Control Outages, unplanned or unexpected shutdowns, or deratings of the generation facility, within forty-eight (48) hours from occurrence; and

    - Maintenance of complete and accurate compliance records, including the accomplished Checklists of Standards, PMS implementation results, and corrective actions undertaken.

- Submission of reports and documents containing material deficiencies, inconsistencies, or misrepresentations;

- Failure to comply with any of the parameters prescribed under Annex “A” or Annex “B” of DC No.DC2026-02-0006, as applicable, and DC No. DC2010-03-0003;

- Failure to submit and/or implement a Corrective Action Plan (CAP), Contingency Plan, or any other corrective or compliance measures as required by the DOE, within the prescribed period;

- Existence of any of the grounds for Incidental/Special Assessment, as provided under Section 11 of DC No. DC2026-02-0006;

- Such other acts or omissions constituting non-compliance with DC No. DC2026-02-0006 and all other applicable issuances, including directives of the DOE pursuant to its mandate to ensure reliability and security of power supply.

The SCO shall be signed by the Undersecretary Supervising the EPIMB, unless otherwise directed by the Secretary.

Section 10. Service of SCOs, Orders, and Other Issuances. – SCOs, Orders, and all other issuances under this Circular shall be served by the EMPIMB upon the concerned GenCo through electronic mail. The EPIMB may also cause the concurrent or subsequent service thereof through registered mail or personal service, as may be necessary: Provided, that the delayed receipt or failure of the concurrent or subsequent service by registered mail or personal service shall not suspend, toll, or interrupt the running of the prescribed period.

RULE IV

WRITTEN EXPLANATION

Section 11. Submission of Explanation. – The GenCo shall submit its explanation in writing, under oath,  directly addressing the ground/s cited in the SCO, including proof of compliance or justification for the non-compliance, and its proposed corrective measures, where applicable. The written explanation, together with all supporting documents shall be submitted within seventy-two (72) hours from receipt of the SCO through electronic mail, unless a different period is prescribed therein.

Submission of the written explanation and all other communications relating to the SCO shall be transmitted by the GenCo using the same email thread initiated by EPIMB for the service of the SCO.  Nevertheless, the GenCo may concurrently or subsequently submit the same through registered mail or personal submission to the DOE.

Section 12. Request for Extension of Time.  – The GenCo may request an extension of time to submit its explanation, provided that such request is submitted through a written notice transmitted through electronic mail, before the expiration of the period prescribed in the SCO.

No request for extension of time shall be granted unless the same clearly states the grounds relied upon and be accompanied by supporting documents, where applicable.

Section 13. Evaluation of Explanation. – Upon receipt of the GenCo’s written explanation and supporting documents, the DOE shall evaluate such submissions to determine the GenCo’s compliance with the applicable requirement/s and the sufficiency of its explanation.

If necessary for the conduct of the evaluation, the DOE may: (a) require the submission of additional supporting documents or clarifications, within such period as may be specified; or (b) conduct inspections, site visits, or such other assessments and validation activities to verify the accuracy of the GenCo’s submissions, declarations, and supporting documents.

Section 14. Issuance of Orders. – Within fifteen (15) working days from receipt of the written explanation and all supporting or additional documents, or from the completion of the inspection, site visit, or assessment, as may be applicable, the DOE shall issue a written Order either: (a) accepting the explanation as satisfactory or otherwise sufficient; or (b) determining the existence of a violation.

Where the DOE determines the existence of a violation, the Order shall likewise direct the GenCo to correct the identified deficiencies, require the submission of a CAP or Contingency Plan, as may be applicable, classify the offense, and impose the corresponding administrative sanction under Section 17 of this Circular, without prejudice to the imposition of such other measures as may be authorized by authorized by law, DC No. DC2026-02-0006, this Circular, and other relevant rules and regulations.

Section 15. – Effect of Failure to Submit or Rectify Deficient Explanation. – The failure of the GenCo to submit its written explanation, together with all supporting documents within the period prescribed, or the failure to rectify an incomplete, inaccurate, inconsistent, or otherwise deficient submission within the period allowed by the DOE, shall constitute waiver of the GenCo's right to be heard and present evidence.

In such cases, the DOE shall resolve the matter based on available records and shall issue the appropriate Order imposing the corresponding administrative sanction pursuant to Section 17 of this Circular, without prejudice to the imposition of such other measures or sanctions as may be authorized under applicable laws, rules, and regulations. For the avoidance of doubt, the initial failure to submit or rectify a deficient explanation shall constitute a First Offense and the DOE shall immediately place the GenCo under Strict Compliance Monitoring to ensure that the operation of its energy project remains consistent with the Philippine Development Plan.

Consistent with Section 4 of this Circular, the imposition of administrative sections shall not extinguish the GenCo's continuing obligation to submit the required explanation and supporting documents. Continued non-compliance shall constitute a Second or Third Offense, as applicable, and shall result in the imposition of more severe penalties, without prejudice to the imposition of such other measures or sanctions as may be authorized under applicable laws, rules, and regulations.

RULE V

ADMINISTRATIVE PENALTIES

Section 16. CAP or Contingency Plan. –  Where the DOE determines, based on the GenCo’s submissions, that corrective or preventive measures are necessary to address a violation or prevent its occurrence/recurrence, the DOE, through a written Order, shall direct the GenCo to submit a CAP or Contingency Plan, as may be applicable, within a prescribed period.

The CAP or Contingency Plan shall identify: (a) the deficiencies to be addressed; (b) corrective or contingency measures to be undertaken; (c) organizational unit and specific personnel responsible; (d) implementation timeline and milestones, including the target completion date; and (e) such other information and/or supporting documents, as may be required under the Order.

The CAP or Contingency Plan shall be subject to the approval and subsequent monitoring and verification by the DOE and/or ERC. To this end, the GenCo shall submit Monthly Progress Reports on the implementation of its approved CAP or Contingency Plan at such intervals as may be prescribed in the Order and until full compliance.

Failure to submit the CAP or Contingency Plan within the prescribed period, or failure to implement the approved plan, or failure to comply with the implementation schedule without justifiable cause shall constitute grounds for the application of the progressive administrative sanctions under Section 17 of this Circular, without prejudice to the DOE's continuing assessment of other sanctions that may be warranted under applicable laws, rules, regulations, and issuances.

Section 17. Administrative Sanctions –  Unless a more severe sanction is warranted under applicable laws, rules, regulations, or issuances, the following administrative sanctions shall be imposed:

- For (a) failure to comply with reportorial obligations; (b) failure to submit the required written explanation and supporting documents; and/or (c) submission of reports or documents containing material deficiencies, inconsistencies, or misrepresentations:

  - First Offense – Issuance of STERN WARNING and placement of the GenCo under “Strict Compliance Monitoring” by the DOE.

  - Second Offense – Referral to the ERC for appropriate action, suspension of the applicable DOE-issued Certificate of Endorsement (COE), and/or suspension from participation in DOE-administered programs until compliance with the Order.

  - Third Offense – Revocation of the applicable DOE-issued COE, disqualification or blacklisting from participation in DOE-administered or DOE-authorized programs, and/or endorsement of the matter to the ERC for the suspension or revocation of its Certificate of Compliance (COC) or other ERC-issued authorizations, where appropriate.

The continued failure to submit reportorial requirements or required documents within the within the period prescribed shall be counted towards the imposition of progressive sanctions and constitute a Second or Third Offense, as applicable.

- For (a) failure to comply with regulatory and technical obligations or generation performance standards, (b) existence of any of the grounds for Incidental/Special Assessment as provided under Section 11 of DC No. DC2026-02-0006, and/or (c) failure to comply with the directives of the DOE pursuant to its mandate to ensure reliability and security of power supply:

  - First Offense – Referral to the ERC for appropriate action, and/or submission and implementation of a CAP or Contingency Plan.

  - Second Offense – Referral to the ERC for appropriate action, suspension of the applicable DOE-issued COE, and/or suspension from participation in DOE-administered programs for a period of one (1) year or until compliance with the Order of the DOE, whichever is longer.

  - Third Offense - Revocation of the applicable DOE-issued COE, blacklisting from participation in DOE-administered or DOE-authorized programs, and/or endorsement of the matter to the ERC for the suspension or revocation of its COC or other ERC-issued authorizations, where appropriate.

Section 18. Non-Exclusivity of Remedies. – The remedies, sanctions, and procedures provided in this Circular are non-exclusive and shall be without prejudice to any other remedy, sanction, investigation, assessment, endorsement, or legal action available to the DOE, ERC, or any other government agency under applicable laws, rules, regulations, Department issuances, contracts, permits, licenses, certifications, or authorizations.

RULE V

MISCELLANEOUS PROVISIONS

Section 19. Recognition of Vested Rights and Non-absolution of Pre-Existing Offenses. – Nothing in this Circular shall be construed to affect any vested rights that have appropriately accrued to any person under valid mechanisms prior to the commencement of this Circular.

This Circular shall likewise not absolve, condone, or exempt any non-compliances or violations committed by GenCos under applicable laws, rules, regulations, and agreements prior to the issuance of this Circular. Pre-existing offenses shall remain punishable under the laws, rules, and regulations in force at the time of their commission.

Section 20. Regulatory Support from the ERC. –Consistent with Section 25 of DC No. DC2026-02-0006, the ERC shall continue to exercise its regulatory support functions.

To operationalize the enforcement and referral mechanisms herein, the ERC shall, within sixty (60) calendar days from the effectivity of this Circular, promulgate the necessary guidelines or amendments to its existing policies to implement this Circular and DC No. DC2026-02-0006. Such issuance shall establish the process for the appropriate sanctions and regulatory actions against erring GenCos as referred to it by the DOE, including the imposition of fines, penalties, suspension, or revocation of ERC-issued authorizations.

## Section 21. Departmental and Inter-Agency Support. – All Bureaus, Services, and Offices of the DOE shall extend full support in ensuring effective implementation of this Circular.

The DOE may likewise call the support and assistance of the National Electrification Administration (NEA), National Power Corporation (NPC), National Transmission Corporation (TransCo), Independent Electricity Market Operator of the Philippines, Inc. (IEMOP), Power Sector Assets and Liabilities Management Corporation (PSALM), and the ERC, as applicable, to address multi-sectoral concerns.

## Section 22. Transitory Provision – All SCOs, Warning Letters, Letter Directives, Orders, notices, and all other enforcement actions, in any form, issued prior to the effectivity of this Circular shall remain valid. Pending proceedings may be continued in accordance with this Circular, provided that no vested right is impaired and that due process is observed.

Non-compliance, violations, or deficiencies committed prior to the effectivity of this Circular shall not be absolved or condoned, and may be acted upon under the laws, rules, regulations, and issuances in force at the time of their commission, without prejudice to the application of this Circular to continuing or subsequent acts of non-compliance.

Section 23. Separability Clause. – If, for any reason, any section or provision of this Circular is declared invalid or unconstitutional, the other provisions not affected thereby shall remain valid and subsisting.

## Section 24. Repealing Clause. – All Department issuances, rules, regulations, circulars, advisories, orders, memoranda, and other issuances inconsistent with this Circular are hereby repealed, amended, or modified accordingly.

## Section 25. Effectivity. – This Circular shall take effect immediately after its publication in the Official Gazette or in two (2) newspapers of general circulation. A copy of this Circular shall be furnished to the University of the Philippines Law Center - Office of the National Administrative Register (UPLC-ONAR).

Issued this ___ day of __________ 2026 at the DOE, Energy Center, Rizal Drive corner 34th Street, Bonifacio Global City, Taguig City.

SHARON S. GARIN

Secretary